IMMUNOHISTOCHEMISTRY PROTOCOL

DAY 1

- 3 x Xylene		deparaffinize 	@ RT	(3 min each)

- 3 x 100% EtOH	rehydrate 	@ RT	(2 min each)

- 1 x  95% EtOH	rehydrate 	@ RT	(2 min)

- 1 x  80% EtOH	rehydrate 	@ RT	(2 min)

- 1 x  70% EtOH	rehydrate 	@ RT	(2 min)

- 1 x  1XPBS	wash 	@ RT	(5 min)

Antigen retrieval

- 10 mM citric acid bufferpH3	@ 37oC	(30 min)

- 3 x 1XPBS		wash	@ RT	(5 min each)

BLOCK ENDOGENOUS PEROXIDASES

- 1 x  H2O2/MeOH	soak 	@ RT	(15 min)	90 ml methanol/10 ml 30%H2O2

- 3 x 1XPBS		wash	@ RT	(5 min each)

- optional Pap pen	circle sections	@ RT	shake off excess PBS prior to delimiting sections

- 1 x  Blocking Buffer	1000 λ / slide	@ RT	(1 hr – over night) in a humidified chamber

DAY 2

PRIMARY ANTIBODIES

- 1:750 10 ¥ options: DUAL FLUORESCENCE ( DILUTE & incubate both “primary” TOGETHER

  - ~1:50010 ¥ inMOUSE	1000 λ / slide	@ RT	(1 hr – over night) in a humidified chamber

Blocking buffer

  - ~1:50010¥ inGOAT	1000 λ / slide	@ RT	(1 hr – over night) in a humidified chamber

Blocking buffer

DAY 3

Drain 1 anti-body off section

- 3 x  1XPBS	wash 	@ RT	(10 min each) 1X PBS +0.1%-0.5%Tween-20 for some primary antibodies

SECONDARY ANTIBODIES

- 1:200 20 ¥ options: DUAL FLUORESCENCE ( DILUTE & incubate both “SECONDARY” TOGETHER

  - >1:20020 ¥ * Cy-3	1000 λ / slide	@ RT	(5 min) in a humidified chamber 	RED: (goat α mouse)

Blocking buffer α-MOUSE					spin 5’ µ.fuge 2 remove ppt.

  - >1:20020 ¥ * Cy-2	1000 λ / slide	@ RT	(5 min) in a humidified chamber 	GREEN : (goat α rabbit)

Blocking buffer α-RABBIT					spin 5’ µ.fuge 2 remove ppt.

Drain 2 anti-body off section

- 5 x  1XPBS	wash 	@ RT	(10 min each)

DAPI counter stain

- 1 x  DAPI [10 μg/ml]	1000 λ / slide	@ RT	(10 min) in a humidified chamber

- 5 x  1XPBS	wash 	@ RT	(10 min each)

MOUNT

- 1 x  70% EtOH	dehydrate 	@ RT	(1 dip)

- 1 x  80% EtOH	dehydrate 	@ RT	(1 dip)

- 1 x  100% EtOH	dehydrate 	@ RT	(1 dip)

- PermountTM  (	mount	coverslip

Antigen retrieval solutions (10 mM CITRATE BUFFER PH3.0)

2.1 GRAMS CITRIC ACID ADDED TO 400 mL OF dH20

ADJUST T0 pH 3.0 WITH ACETIC ACID IF ABOVE 3.0 OR NaOH IF BELOW 3.0

MAKE UP TO 1L FINAL VOLUME WITH dH20

Blocking buffers

a. 3%BSA in 1X PBS

b. 5%BSA / 0.5%Tween-20 in 1X PBS

c. 3%BSA/0.1%Tween in 1X PBS

PBST

1X PBS + 0.1% TWEEN-20

DAPI stock solution [5 mg/ml]

Dissolve 10 mg DAPIdilactate in 2 mL dH2O ( 5 mg/mL = [10.9 mM]

aliquot & store ( -20 °C long term; in dark

2.6°C short term; in dark

DAPI working solution [10 μg/ml]

2 λ DAPI stock / ml PBS

aliquot & store  -20 °C long term; in dark

2.6°C short term; in dark

LASER:	            354 - 361  488     568     647   				secondaries currently availible

DAPI	                358					goat α mouse  Cy-3

Hoechst    	                356					goat α rabbit	  Cy-3

Propdidium iodide	        535					goat α rabbit 	  Cy-2

SYTOX Green	        504					donkey α goat Cy-2

Cy-2 & FITC		        492

Cy-3 & TRITC	                   550

Cy-5		                              649

Cy-2 abs @ 492 and emits @ 510

FITC abs @ 492 and emits @ 520

Cy-3 abs @ 550 and emits @ 570

TRITC abs @ 550 and emits @ 570

Cy-5 abs @ 649 and emits @ 670

Propdidium iodide abs @ 535 and emits @ 617 (generally used with a 568 laser line, i.e. in combination with Cy-5)

SYTOX Green abs @ 504 and emits @ 523 (generally used with a 488 laser line; i.e. in combination with Cy-5)

DAPI abs @ 358 and emits @ 461

Hoechst 33258 abs @ 356 and emits @ 492