Western Blot Protocol

- Prepare sample

Normal

- cell extract

- ∏ assay

- calculate vol. ( 25μg/well

Fish

- homogenize embryos (

Ø in SDS PAGE sample buffer

- Run Gel

- assemble gel

  - get a glass slab pair (top: cut away & bottom: full)

  - clean gel side with EtOH

  - lay silicon worm horizontal @ bottom edge

  - place spacer on both sides

  - place cut away glass on top

  - hold one side temp with clamp

  - slightly wedge open opposite side & bring worm up around with out pinching @ bottom corner

  - clamp that side with 2 clamps

  - repeat for opposite side

  - stand up-right

- solution for thick gels

  - 7.5% seq. gel (x1 large gel)

    - 16.9 ml H2O

    - 15   ml 1M Tris (pH 8.9)

    - 7.5   ml acrylamide:bisacrylamide stock 40% (37.5 : 1)

    - 400     λ 10% SDS

add below  when ready to polymerize

    - 28     λ Temed

    - 140↑ λ 10% APS ammonium persulfate

pour gel (leave ~2cm from bottom of comb wells)

spray 0.1% SDS for sharp contrast

  - stacking gel (x1 large gel)

    - 11   ml H2O

    - 1.87ml 1M Tris (pH 6.8)

    - 1.9  ml acrylamide:bisacrylamide stock 40% (37.5 : 1)

    - 150    λ 10% SDS

    - 18    λ Temed

    - 75↑  λ 10% APS ammonium persulfate

- pour gel

  - pour seq gel ( ~ ½ hr polymerize

  - spray 0.1 SDS

  - add Temed & APS ammonium persulfate  to stacking gel solution

  - pour stacking gel ontop of sharp spray-seq gel interphase

  - insert comb

- assemble gel

  - remove silicon worm

  - clamp to water fall apparatus

  - load samples in the dry with normal tips	LOAD POSITIVE CONTROL AND LADDER	217

  - spray running buffer over loaded wells						123

  - fill top & bottom reservoirs with running buffer					  71

48

- run 1 ½ hr. @ ~120 volts

- Transfer

- disassemble “running gel” in sink

- pry open glass slabs

- use the recently removed glass slab to cut off

  - stacking gel

  - lateral sides

  - immediately below dye migration

measure

- pry open glass slabs

- get a piece of transfer paper of similar size

Transfer continued…

presoak

- place transfer paper in tupper with transfer buffer ( put on rocker

- place gel in tupper with transfer buffer ( put on rocker

- in a large glass/tupper container with transfer buffer submerse & assemble transfer cassette as follows

use broken pipette to remove bubbles on steps a(g

  - cassette ( black side down

  - overlay with white scrub thing

  - 3M paper

  - gel

  - transfer paper (nitrocellulose)

  - 3M paper

  - white scrub thing

  - close cassette & lock

  - fill apparatus with transfer buffer

  - check stir bar works properly

  - insert cassette black side towards (-) black electrode

  - electrodes are to be placed as far apart as possible

- run

  - FAST	1 hr @ 60v cold current + ice & electrodes closer together

or

  - SLOW	overnight @ ~20v (~0.15 milli amp)

- Ponceau Stain: OPTIONAL		MAKE SURE ∏ SIDE FACING UP!

- stain with reusable Ponceau

- drain & rinse in H2O until background is reduced

- photocopy if needed

- Block

- 5% powder milk in wash buffer PBS + 0.05% tween

- incubate

  - FAST	1 hr @ 370C(shaker

or

  - SLOW	overnight

- 1o ¥

- 1:100 or 1:1000 of rabbit ¥67489 raised against ∏1803K

- incubate 1 hr on RT rocker

  - + ∏ 1803K (5% by vol)	14 λ anti ∏ : 3 λ ∏ : 14 ml 5% milk

  - - ∏ 1803K		14 λ anti ∏ :      -    : 14 ml 5% milk

- Wash

- 3 x Wash Buffer (5 min each)

- 2o ¥	…incubate 5 min after ¥  is added

- 1:5000 of HRP-¥ horse radish peroxide coupled antibody goat anti rabbit 3 λ HRP-¥ / 14 ml diluted in 14 ml wash buffer + 1mg/ml BSA

for final 2% [BSA] use 280 λ unlabeled BSA solution / 14 ml wash buffer

- incubate ½ hr to 1 hr on RT rocker

- Wash

- 3 x Wash Buffer	(5 min each)

- 1 x Wash Buffer	(15 min each)

- 1 x PBS		(5-10 min each)

- 1 x dH20		(10 min each)

- Develop in dark

- place on seran wrap

- NEN rxn ( mix 1:1 Oxi:Luminol reagents ( immediately add to membrane for 60 sec

- remove, slightly blot against paper towel & wrap membrane in seran wrap

- open film ( indent on film @ upper left hand corner ( close cassette ( expose film 90 sec

- remove film and check to make sure paper IS NOT stuck to back of film ( slide film in ┴ + push button